## eplusout
Date/Time | Environment:Site Outdoor Air Drybulb Temperature [C](Hourly) | SYS 1 HEAT PUMP COOLING MODE:Cooling Coil Electric Power [W](Hourly) | SYS 1 HEAT PUMP COOLING MODE:Cooling Coil Total Cooling Rate [W](Hourly) | SYS 1 HEAT PUMP COOLING MODE:Cooling Coil Sensible Cooling Rate [W](Hourly) | SYS 1 HEAT PUMP COOLING MODE:Cooling Coil Source Side Heat Transfer Rate [W](Hourly) | SYS 1 HEAT PUMP COOLING MODE:Cooling Coil Part Load Ratio [](Hourly) | SYS 1 HEAT PUMP COOLING MODE:Cooling Coil Air Mass Flow Rate [kg/s](Hourly) | SYS 1 HEAT PUMP COOLING MODE:Cooling Coil Air Inlet Temperature [C](Hourly) | SYS 1 HEAT PUMP COOLING MODE:Cooling Coil Air Inlet Humidity Ratio [kgWater/kgDryAir](Hourly) | SYS 1 HEAT PUMP COOLING MODE:Cooling Coil Air Outlet Temperature [C](Hourly) | SYS 1 HEAT PUMP COOLING MODE:Cooling Coil Air Outlet Humidity Ratio [kgWater/kgDryAir](Hourly) | SYS 1 HEAT PUMP COOLING MODE:Cooling Coil Source Side Mass Flow Rate [kg/s](Hourly) | SYS 1 HEAT PUMP COOLING MODE:Cooling Coil Source Side Inlet Temperature [C](Hourly) | SYS 1 HEAT PUMP COOLING MODE:Cooling Coil Source Side Outlet Temperature [C](Hourly) | SYS 1 HEAT PUMP COOLING MODE:Cooling Coil Upper Speed Level [](Hourly) | SYS 1 HEAT PUMP COOLING MODE:Cooling Coil Neighboring Speed Levels Ratio [](Hourly) | SYS 1 HEAT PUMP COOLING MODE:Cooling Coil Recoverable Heat Transfer Rate [W](Hourly) | TC VS TEMP1 TEST:Performance Curve Output Value [](Hourly) | TC VS AIRFRAC TEST:Performance Curve Output Value [](Hourly) | TC VS WATERFRAC TEST:Performance Curve Output Value [](Hourly) | SYS 1 COOLING COIL AIR INLET NODE:System Node Wetbulb Temperature [C](Hourly) | SpeedRatio
07/21 01:00:00 | 20.2625 | 0 | 0 | 0 | 0 | 0 | 0 | 24.8884 | 0.0054099 | 24.8884 | 0.0054099 | 0 | 14.0132 | 14.0132 | 1 | 0 | 0 | 1.0386 | 1 | 1 | 12.0988 | 0
07/21 02:00:00 | 18.7125 | 0 | 0 | 0 | 0 | 0 | 0 | 24.7407 | 0.0054204 | 24.7407 | 0.0054204 | 0 | 14.0132 | 14.0132 | 1 | 0 | 0 | 1.0386 | 1 | 1 | 12.049 | 0
07/21 03:00:00 | 16.925 | 0 | 0 | 0 | 0 | 0 | 0 | 24.5839 | 0.005431 | 24.5839 | 0.005431 | 0 | 14.0132 | 14.0132 | 1 | 0 | 0 | 1.0386 | 1 | 1 | 12.0019 | 0
07/21 04:00:00 | 15.4125 | 0 | 0 | 0 | 0 | 0 | 0 | 24.4095 | 0.0054443 | 24.4095 | 0.0054443 | 0 | 14.0132 | 14.0132 | 1 | 0 | 0 | 1.0386 | 1 | 1 | 11.9512 | 0
07/21 05:00:00 | 14.625 | 0 | 0 | 0 | 0 | 0 | 0 | 24.2374 | 0.005456 | 24.2374 | 0.005456 | 0 | 14.0132 | 14.0132 | 1 | 0 | 0 | 1.0386 | 1 | 1 | 11.9013 | 0
07/21 06:00:00 | 15.4625 | 0 | 0 | 0 | 0 | 0 | 0 | 24.1563 | 0.0054668 | 24.1563 | 0.0054668 | 0 | 14.0132 | 14.0132 | 1 | 0 | 0 | 1.0386 | 1 | 1 | 11.883 | 0
07/21 07:00:00 | 18.1625 | 0 | 0 | 0 | 0 | 0 | 0 | 24.3145 | 0.0054895 | 24.3145 | 0.0054895 | 0 | 14.0132 | 14.0132 | 1 | 0 | 0 | 1.0386 | 1 | 1 | 11.964 | 0
07/21 08:00:00 | 21.8375 | 333.9913 | 1980.0551 | 1901.3571 | 2279.245 | 0.68926 | 0.13044 | 23.5463 | 0.0056277 | 11.3534 | 0.0053771 | 0.36108 | 12.9695 | 14.4016 | 3.1 | 0.29769 | 33.2433 | 1.0474 | 1 | 1 | 11.8054 | 0.27974
07/21 09:00:00 | 25.05 | 913.8362 | 5501.5301 | 5179.6186 | 6323.9826 | 1 | 0.3013 | 23.4244 | 0.0058041 | 6.5052 | 0.0053798 | 0.38008 | 12.7623 | 16.7355 | 8 | 0.5629 | 91.3836 | 1.0494 | 1 | 1 | 11.9173 | 0.77577
07/21 10:00:00 | 27.475 | 1055.954 | 6341.3932 | 5956.105 | 7291.7518 | 1 | 0.33962 | 23.424 | 0.0058642 | 6.1593 | 0.0054126 | 0.38008 | 12.8242 | 17.4055 | 9.25 | 0.59281 | 105.5954 | 1.0488 | 1 | 1 | 11.97 | 0.89469
07/21 11:00:00 | 29.7375 | 1129.4483 | 6755.5416 | 6386.9722 | 7772.0451 | 1 | 0.35928 | 23.4241 | 0.0057722 | 5.9203 | 0.0053635 | 0.38008 | 12.9981 | 17.8815 | 10 | 0.49937 | 112.9448 | 1.0472 | 1 | 1 | 11.8864 | 0.95457
07/21 12:00:00 | 31.6 | 1175.9134 | 7016.529 | 6702.3008 | 8074.8511 | 1 | 0.37182 | 23.4244 | 0.0056122 | 5.6704 | 0.0052756 | 0.38008 | 13.14 | 18.2138 | 10 | 0.91835 | 117.5913 | 1.046 | 1 | 1 | 11.7383 | 0.99259
07/21 13:00:00 | 32.8875 | 1041.5779 | 6194.5363 | 6009.4341 | 7131.9565 | 1 | 0.33407 | 23.425 | 0.0053509 | 5.6979 | 0.0051308 | 0.38008 | 13.3528 | 17.8344 | 9 | 0.65746 | 104.1578 | 1.0444 | 1 | 1 | 11.4968 | 0.87763
07/21 14:00:00 | 33.675 | 1139.5149 | 6787.9352 | 6683.2444 | 7813.4986 | 1 | 0.36158 | 23.4256 | 0.0051104 | 5.2038 | 0.004995 | 0.38008 | 13.3936 | 18.3035 | 10 | 0.57638 | 113.9515 | 1.0446 | 1 | 1 | 11.271 | 0.96156
07/21 15:00:00 | 33.2125 | 1131.6115 | 6728.0409 | 6631.546 | 7746.4913 | 1 | 0.35897 | 23.4257 | 0.0050976 | 5.2127 | 0.0049905 | 0.38008 | 13.4659 | 18.3339 | 10 | 0.489 | 113.1611 | 1.044 | 1 | 1 | 11.2554 | 0.95364
07/21 16:00:00 | 32.425 | 1110.2642 | 6576.9902 | 6455.954 | 7576.228 | 1 | 0.35221 | 23.4256 | 0.0051733 | 5.3574 | 0.0050364 | 0.38008 | 13.5605 | 18.3216 | 10 | 0.26342 | 111.0264 | 1.0429 | 1 | 1 | 11.3267 | 0.93317
07/21 17:00:00 | 31.5125 | 1068.077 | 6305.0938 | 6154.5247 | 7266.3631 | 1 | 0.33984 | 23.4254 | 0.0052706 | 5.5764 | 0.0050942 | 0.38008 | 13.6415 | 18.2079 | 9 | 0.85003 | 106.8077 | 1.042 | 1 | 1 | 11.4182 | 0.89541
07/21 18:00:00 | 31.1 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6569 | 0.0052583 | 24.6569 | 0.0052583 | 0 | 13.6702 | 13.6702 | 1 | 0 | 0 | 1.0417 | 1 | 1 | 11.8637 | 0
07/21 19:00:00 | 29.35 | 0 | 0 | 0 | 0 | 0 | 0 | 25.5922 | 0.0052616 | 25.5922 | 0.0052616 | 0 | 13.6702 | 13.6702 | 1 | 0 | 0 | 1.0417 | 1 | 1 | 12.2158 | 0
07/21 20:00:00 | 26.6125 | 0 | 0 | 0 | 0 | 0 | 0 | 25.3931 | 0.0052756 | 25.3931 | 0.0052756 | 0 | 13.6702 | 13.6702 | 1 | 0 | 0 | 1.0417 | 1 | 1 | 12.1588 | 0
07/21 21:00:00 | 24.5375 | 0 | 0 | 0 | 0 | 0 | 0 | 25.2458 | 0.005299 | 25.2458 | 0.005299 | 0 | 13.6702 | 13.6702 | 1 | 0 | 0 | 1.0417 | 1 | 1 | 12.1291 | 0
07/21 22:00:00 | 23.525 | 0 | 0 | 0 | 0 | 0 | 0 | 25.1663 | 0.0053274 | 25.1663 | 0.0053274 | 0 | 13.6702 | 13.6702 | 1 | 0 | 0 | 1.0417 | 1 | 1 | 12.1296 | 0
07/21 23:00:00 | 22.6125 | 0 | 0 | 0 | 0 | 0 | 0 | 25.0927 | 0.0053544 | 25.0927 | 0.0053544 | 0 | 13.6702 | 13.6702 | 1 | 0 | 0 | 1.0417 | 1 | 1 | 12.1284 | 0
07/21 24:00:00 | 21.8875 | 0 | 0 | 0 | 0 | 0 | 0 | 24.9884 | 0.0053776 | 24.9884 | 0.0053776 | 0 | 13.6702 | 13.6702 | 1 | 0 | 0 | 1.0417 | 1 | 1 | 12.1112 | 0