## eplusout
Date/Time | Environment:Site Outdoor Air Drybulb Temperature [C](Hourly) | SYS 1 HEAT PUMP COOLING MODE:Cooling Coil Electric Power [W](Hourly) | SYS 1 HEAT PUMP COOLING MODE:Cooling Coil Total Cooling Rate [W](Hourly) | SYS 1 HEAT PUMP COOLING MODE:Cooling Coil Sensible Cooling Rate [W](Hourly) | SYS 1 HEAT PUMP COOLING MODE:Cooling Coil Source Side Heat Transfer Rate [W](Hourly) | SYS 1 HEAT PUMP COOLING MODE:Cooling Coil Part Load Ratio [](Hourly) | SYS 1 HEAT PUMP COOLING MODE:Cooling Coil Air Mass Flow Rate [kg/s](Hourly) | SYS 1 HEAT PUMP COOLING MODE:Cooling Coil Air Inlet Temperature [C](Hourly) | SYS 1 HEAT PUMP COOLING MODE:Cooling Coil Air Inlet Humidity Ratio [kgWater/kgDryAir](Hourly) | SYS 1 HEAT PUMP COOLING MODE:Cooling Coil Air Outlet Temperature [C](Hourly) | SYS 1 HEAT PUMP COOLING MODE:Cooling Coil Air Outlet Humidity Ratio [kgWater/kgDryAir](Hourly) | SYS 1 HEAT PUMP COOLING MODE:Cooling Coil Source Side Mass Flow Rate [kg/s](Hourly) | SYS 1 HEAT PUMP COOLING MODE:Cooling Coil Source Side Inlet Temperature [C](Hourly) | SYS 1 HEAT PUMP COOLING MODE:Cooling Coil Source Side Outlet Temperature [C](Hourly) | SYS 1 HEAT PUMP COOLING MODE:Cooling Coil Upper Speed Level [](Hourly) | SYS 1 HEAT PUMP COOLING MODE:Cooling Coil Neighboring Speed Levels Ratio [](Hourly) | SYS 1 HEAT PUMP COOLING MODE:Cooling Coil Recoverable Heat Transfer Rate [W](Hourly) | TC VS TEMP1 TEST:Performance Curve Output Value [](Hourly) | TC VS AIRFRAC TEST:Performance Curve Output Value [](Hourly) | TC VS WATERFRAC TEST:Performance Curve Output Value [](Hourly) | SYS 1 COOLING COIL AIR INLET NODE:System Node Wetbulb Temperature [C](Hourly) | SpeedRatio
07/21 01:00:00 | 20.2625 | 0 | 0 | 0 | 0 | 0 | 0 | 24.8968 | 0.0054098 | 24.8968 | 0.0054098 | 0 | 14.0128 | 14.0128 | 1 | 0 | 0 | 1.0386 | 1 | 1 | 12.1017 | 0
07/21 02:00:00 | 18.7125 | 0 | 0 | 0 | 0 | 0 | 0 | 24.7487 | 0.0054202 | 24.7487 | 0.0054202 | 0 | 14.0128 | 14.0128 | 1 | 0 | 0 | 1.0386 | 1 | 1 | 12.0518 | 0
07/21 03:00:00 | 16.925 | 0 | 0 | 0 | 0 | 0 | 0 | 24.5914 | 0.0054308 | 24.5914 | 0.0054308 | 0 | 14.0128 | 14.0128 | 1 | 0 | 0 | 1.0386 | 1 | 1 | 12.0045 | 0
07/21 04:00:00 | 15.4125 | 0 | 0 | 0 | 0 | 0 | 0 | 24.4167 | 0.0054441 | 24.4167 | 0.0054441 | 0 | 14.0128 | 14.0128 | 1 | 0 | 0 | 1.0386 | 1 | 1 | 11.9537 | 0
07/21 05:00:00 | 14.625 | 0 | 0 | 0 | 0 | 0 | 0 | 24.2443 | 0.0054558 | 24.2443 | 0.0054558 | 0 | 14.0128 | 14.0128 | 1 | 0 | 0 | 1.0386 | 1 | 1 | 11.9037 | 0
07/21 06:00:00 | 15.4625 | 0 | 0 | 0 | 0 | 0 | 0 | 24.1621 | 0.0054666 | 24.1621 | 0.0054666 | 0 | 14.0128 | 14.0128 | 1 | 0 | 0 | 1.0386 | 1 | 1 | 11.885 | 0
07/21 07:00:00 | 18.1625 | 0 | 0 | 0 | 0 | 0 | 0 | 24.3157 | 0.0054893 | 24.3157 | 0.0054893 | 0 | 14.0128 | 14.0128 | 1 | 0 | 0 | 1.0386 | 1 | 1 | 11.9643 | 0
07/21 08:00:00 | 21.8375 | 333.3854 | 1976.7472 | 1898.2112 | 2275.4403 | 0.68772 | 0.1302 | 23.546 | 0.0056276 | 11.3563 | 0.0053771 | 0.36108 | 12.9697 | 14.3994 | 3.1 | 0.29452 | 33.1881 | 1.0474 | 1 | 1 | 11.8052 | 0.27927
07/21 09:00:00 | 25.05 | 912.9344 | 5496.0219 | 5174.3756 | 6317.6629 | 1 | 0.30105 | 23.4244 | 0.0058042 | 6.5085 | 0.0053799 | 0.38008 | 12.7628 | 16.732 | 8 | 0.55466 | 91.2934 | 1.0494 | 1 | 1 | 11.9174 | 0.775
07/21 10:00:00 | 27.475 | 1055.0684 | 6336.0105 | 5950.8973 | 7285.5721 | 1 | 0.33937 | 23.424 | 0.0058645 | 6.1618 | 0.0054128 | 0.38008 | 12.8244 | 17.4018 | 9.25 | 0.58457 | 105.5068 | 1.0488 | 1 | 1 | 11.9703 | 0.89394
07/21 11:00:00 | 29.7375 | 1128.7765 | 6751.511 | 6382.9753 | 7767.4098 | 1 | 0.35909 | 23.4241 | 0.0057726 | 5.9222 | 0.0053638 | 0.38008 | 12.998 | 17.8785 | 10 | 0.49308 | 112.8776 | 1.0472 | 1 | 1 | 11.8868 | 0.954
07/21 12:00:00 | 31.6 | 1175.5513 | 7014.4073 | 6700.1183 | 8072.4035 | 1 | 0.37172 | 23.4244 | 0.0056126 | 5.6714 | 0.0052758 | 0.38008 | 13.1397 | 18.212 | 10 | 0.91501 | 117.5551 | 1.046 | 1 | 1 | 11.7386 | 0.99229
07/21 13:00:00 | 32.8875 | 1041.5737 | 6194.589 | 6009.3945 | 7132.0053 | 1 | 0.33407 | 23.425 | 0.0053512 | 5.6981 | 0.0051309 | 0.38008 | 13.3523 | 17.8339 | 9 | 0.6575 | 104.1574 | 1.0444 | 1 | 1 | 11.497 | 0.87764
07/21 14:00:00 | 33.675 | 1139.8598 | 6790.1034 | 6685.3343 | 7815.9772 | 1 | 0.36168 | 23.4256 | 0.0051105 | 5.2031 | 0.0049951 | 0.38008 | 13.3929 | 18.3044 | 10 | 0.57971 | 113.986 | 1.0446 | 1 | 1 | 11.2711 | 0.96186
07/21 15:00:00 | 33.2125 | 1132.2454 | 6731.9222 | 6635.3693 | 7750.943 | 1 | 0.35915 | 23.4257 | 0.0050977 | 5.2113 | 0.0049905 | 0.38008 | 13.4654 | 18.3361 | 10 | 0.49501 | 113.2245 | 1.044 | 1 | 1 | 11.2554 | 0.95418
07/21 16:00:00 | 32.425 | 1111.2049 | 6582.6723 | 6461.5701 | 7582.7567 | 1 | 0.35248 | 23.4256 | 0.0051733 | 5.3552 | 0.0050364 | 0.38008 | 13.56 | 18.3251 | 10 | 0.27225 | 111.1205 | 1.0429 | 1 | 1 | 11.3266 | 0.93397
07/21 17:00:00 | 31.5125 | 1069.2922 | 6312.3681 | 6161.6911 | 7274.731 | 1 | 0.34017 | 23.4254 | 0.0052705 | 5.5732 | 0.0050941 | 0.38008 | 13.641 | 18.2127 | 9 | 0.86117 | 106.9292 | 1.042 | 1 | 1 | 11.4181 | 0.89644
07/21 18:00:00 | 31.1 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6591 | 0.0052582 | 24.6591 | 0.0052582 | 0 | 13.6698 | 13.6698 | 1 | 0 | 0 | 1.0417 | 1 | 1 | 11.8644 | 0
07/21 19:00:00 | 29.35 | 0 | 0 | 0 | 0 | 0 | 0 | 25.5972 | 0.0052615 | 25.5972 | 0.0052615 | 0 | 13.6698 | 13.6698 | 1 | 0 | 0 | 1.0417 | 1 | 1 | 12.2175 | 0
07/21 20:00:00 | 26.6125 | 0 | 0 | 0 | 0 | 0 | 0 | 25.4008 | 0.0052754 | 25.4008 | 0.0052754 | 0 | 13.6698 | 13.6698 | 1 | 0 | 0 | 1.0417 | 1 | 1 | 12.1615 | 0
07/21 21:00:00 | 24.5375 | 0 | 0 | 0 | 0 | 0 | 0 | 25.2546 | 0.0052989 | 25.2546 | 0.0052989 | 0 | 13.6698 | 13.6698 | 1 | 0 | 0 | 1.0417 | 1 | 1 | 12.1322 | 0
07/21 22:00:00 | 23.525 | 0 | 0 | 0 | 0 | 0 | 0 | 25.1756 | 0.0053272 | 25.1756 | 0.0053272 | 0 | 13.6698 | 13.6698 | 1 | 0 | 0 | 1.0417 | 1 | 1 | 12.1328 | 0
07/21 23:00:00 | 22.6125 | 0 | 0 | 0 | 0 | 0 | 0 | 25.102 | 0.0053543 | 25.102 | 0.0053543 | 0 | 13.6698 | 13.6698 | 1 | 0 | 0 | 1.0417 | 1 | 1 | 12.1316 | 0
07/21 24:00:00 | 21.8875 | 0 | 0 | 0 | 0 | 0 | 0 | 24.9973 | 0.0053775 | 24.9973 | 0.0053775 | 0 | 13.6698 | 13.6698 | 1 | 0 | 0 | 1.0417 | 1 | 1 | 12.1143 | 0
07/22 01:00:00 | 21.7 | 0 | 0 | 0 | 0 | 0 | 0 | 24.9046 | 0.005395 | 24.9046 | 0.005395 | 0 | 13.6698 | 13.6698 | 1 | 0 | 0 | 1.0417 | 1 | 1 | 12.0963 | 0
07/22 02:00:00 | 20.2625 | 0 | 0 | 0 | 0 | 0 | 0 | 24.7855 | 0.0054085 | 24.7855 | 0.0054085 | 0 | 13.6698 | 13.6698 | 1 | 0 | 0 | 1.0417 | 1 | 1 | 12.0648 | 0
07/22 03:00:00 | 18.7125 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6411 | 0.0054219 | 24.6411 | 0.0054219 | 0 | 13.6698 | 13.6698 | 1 | 0 | 0 | 1.0417 | 1 | 1 | 12.024 | 0
07/22 04:00:00 | 18.3 | 0 | 0 | 0 | 0 | 0 | 0 | 24.5166 | 0.0054347 | 24.5166 | 0.0054347 | 0 | 13.6698 | 13.6698 | 1 | 0 | 0 | 1.0417 | 1 | 1 | 11.9899 | 0
07/22 05:00:00 | 18.3 | 0 | 0 | 0 | 0 | 0 | 0 | 24.4153 | 0.0054417 | 24.4153 | 0.0054417 | 0 | 13.6698 | 13.6698 | 1 | 0 | 0 | 1.0417 | 1 | 1 | 11.959 | 0
07/22 06:00:00 | 18.675 | 0 | 0 | 0 | 0 | 0 | 0 | 24.3582 | 0.0054452 | 24.3582 | 0.0054452 | 0 | 13.6698 | 13.6698 | 1 | 0 | 0 | 1.0417 | 1 | 1 | 11.9412 | 0
07/22 07:00:00 | 20.9625 | 0 | 0 | 0 | 0 | 0 | 0 | 24.4896 | 0.0054636 | 24.4896 | 0.0054636 | 0 | 13.6698 | 13.6698 | 1 | 0 | 0 | 1.0417 | 1 | 1 | 12.0083 | 0
07/22 08:00:00 | 23.95 | 382.4218 | 2262.4349 | 2173.7576 | 2604.2722 | 0.80453 | 0.14985 | 23.5601 | 0.0055967 | 10.9066 | 0.0053502 | 0.36424 | 13.0796 | 14.716 | 3.2083 | 0.55531 | 37.9819 | 1.0465 | 1 | 1 | 11.7927 | 0.31991
07/22 09:00:00 | 26.75 | 946.9955 | 5669.4417 | 5342.9752 | 6521.7377 | 1 | 0.30931 | 23.4245 | 0.005794 | 6.4223 | 0.005375 | 0.38008 | 12.9566 | 17.0543 | 8.5 | 0.33045 | 94.6996 | 1.0476 | 1 | 1 | 11.9237 | 0.80082
07/22 10:00:00 | 29.175 | 1085.9837 | 6481.7578 | 6074.5418 | 7459.1431 | 1 | 0.34661 | 23.4239 | 0.0059072 | 6.1715 | 0.0054396 | 0.38008 | 13.0219 | 17.7086 | 9.75 | 0.32613 | 108.5984 | 1.047 | 1 | 1 | 12.0251 | 0.91608
07/22 11:00:00 | 30.375 | 1119.0644 | 6645.8986 | 6249.0959 | 7653.0565 | 1 | 0.35475 | 23.4239 | 0.0058691 | 6.0817 | 0.0054238 | 0.38008 | 13.2129 | 18.0217 | 10 | 0.34826 | 111.9064 | 1.0452 | 1 | 1 | 11.9876 | 0.94086
07/22 12:00:00 | 31.2875 | 1162.713 | 6883.711 | 6512.6345 | 7930.1527 | 1 | 0.36625 | 23.424 | 0.0057811 | 5.9162 | 0.0053776 | 0.38008 | 13.3518 | 18.335 | 10 | 0.73235 | 116.2713 | 1.044 | 1 | 1 | 11.9039 | 0.97571
07/22 13:00:00 | 32.0125 | 1073.2175 | 6330.4953 | 6025.6856 | 7296.3911 | 1 | 0.34085 | 23.4257 | 0.0056841 | 6.0153 | 0.0053282 | 0.38008 | 13.5146 | 18.0998 | 9 | 0.88382 | 107.3218 | 1.0425 | 1 | 1 | 11.8126 | 0.89854
07/22 14:00:00 | 32.2 | 1191.4166 | 7029.9412 | 6740.757 | 8102.2161 | 1 | 0.3736 | 23.4281 | 0.0055746 | 5.6554 | 0.0052664 | 0.38008 | 13.5419 | 18.6335 | 10 | 0.97756 | 119.1417 | 1.0424 | 1 | 1 | 11.7092 | 0.99796
07/22 15:00:00 | 32.2 | 1181.8429 | 6960.6014 | 6696.367 | 8024.26 | 1 | 0.37056 | 23.4398 | 0.00553 | 5.6383 | 0.005246 | 0.38008 | 13.6217 | 18.6644 | 10 | 0.87614 | 118.1843 | 1.0417 | 1 | 1 | 11.6687 | 0.98876
07/22 16:00:00 | 31.8875 | 1154.2204 | 6773.8093 | 6488.7432 | 7812.6077 | 1 | 0.36211 | 23.4246 | 0.0056029 | 5.7745 | 0.0052894 | 0.38008 | 13.7225 | 18.6323 | 10 | 0.59379 | 115.422 | 1.0407 | 1 | 1 | 11.7286 | 0.96314
07/22 17:00:00 | 30.2625 | 1103.005 | 6452.7753 | 6149.1908 | 7445.4797 | 1 | 0.34729 | 23.4244 | 0.0056902 | 5.9872 | 0.0053422 | 0.38008 | 13.803 | 18.4822 | 9.75 | 0.34888 | 110.3005 | 1.0399 | 1 | 1 | 11.8106 | 0.91821
07/22 18:00:00 | 28.7125 | 0 | 0 | 0 | 0 | 0 | 0 | 24.9992 | 0.0057802 | 24.9992 | 0.0057802 | 0 | 13.8381 | 13.8381 | 1 | 0 | 0 | 1.0396 | 1 | 1 | 12.4659 | 0
07/22 19:00:00 | 27.3 | 0 | 0 | 0 | 0 | 0 | 0 | 25.6015 | 0.0058795 | 25.6015 | 0.0058795 | 0 | 13.8381 | 13.8381 | 1 | 0 | 0 | 1.0396 | 1 | 1 | 12.7724 | 0
07/22 20:00:00 | 26.325 | 0 | 0 | 0 | 0 | 0 | 0 | 25.423 | 0.0058999 | 25.423 | 0.0058999 | 0 | 13.8381 | 13.8381 | 1 | 0 | 0 | 1.0396 | 1 | 1 | 12.7318 | 0
07/22 21:00:00 | 25.7875 | 0 | 0 | 0 | 0 | 0 | 0 | 25.3677 | 0.005916 | 25.3677 | 0.005916 | 0 | 13.8381 | 13.8381 | 1 | 0 | 0 | 1.0396 | 1 | 1 | 12.7315 | 0
07/22 22:00:00 | 24.5375 | 0 | 0 | 0 | 0 | 0 | 0 | 25.3065 | 0.0059295 | 25.3065 | 0.0059295 | 0 | 13.8381 | 13.8381 | 1 | 0 | 0 | 1.0396 | 1 | 1 | 12.7229 | 0
07/22 23:00:00 | 23.525 | 0 | 0 | 0 | 0 | 0 | 0 | 25.1875 | 0.0059416 | 25.1875 | 0.0059416 | 0 | 13.8381 | 13.8381 | 1 | 0 | 0 | 1.0396 | 1 | 1 | 12.6887 | 0
07/22 24:00:00 | 22.6125 | 0 | 0 | 0 | 0 | 0 | 0 | 25.0568 | 0.0059532 | 25.0568 | 0.0059532 | 0 | 13.8381 | 13.8381 | 1 | 0 | 0 | 1.0396 | 1 | 1 | 12.6486 | 0
07/23 01:00:00 | 21.5125 | 0 | 0 | 0 | 0 | 0 | 0 | 24.9213 | 0.0059645 | 24.9213 | 0.0059645 | 0 | 13.8381 | 13.8381 | 1 | 0 | 0 | 1.0396 | 1 | 1 | 12.6109 | 0
07/23 02:00:00 | 21.1 | 0 | 0 | 0 | 0 | 0 | 0 | 24.7752 | 0.0059774 | 24.7752 | 0.0059774 | 0 | 13.8381 | 13.8381 | 1 | 0 | 0 | 1.0396 | 1 | 1 | 12.5689 | 0
07/23 03:00:00 | 19.35 | 0 | 0 | 0 | 0 | 0 | 0 | 24.631 | 0.0059896 | 24.631 | 0.0059896 | 0 | 13.8381 | 13.8381 | 1 | 0 | 0 | 1.0396 | 1 | 1 | 12.5287 | 0
07/23 04:00:00 | 17.9875 | 0 | 0 | 0 | 0 | 0 | 0 | 24.4506 | 0.0060009 | 24.4506 | 0.0060009 | 0 | 13.8381 | 13.8381 | 1 | 0 | 0 | 1.0396 | 1 | 1 | 12.475 | 0
07/23 05:00:00 | 17.425 | 0 | 0 | 0 | 0 | 0 | 0 | 24.3457 | 0.0060115 | 24.3457 | 0.0060115 | 0 | 13.8381 | 13.8381 | 1 | 0 | 0 | 1.0396 | 1 | 1 | 12.4465 | 0
07/23 06:00:00 | 17.575 | 0 | 0 | 0 | 0 | 0 | 0 | 24.2728 | 0.0060227 | 24.2728 | 0.0060227 | 0 | 13.8381 | 13.8381 | 1 | 0 | 0 | 1.0396 | 1 | 1 | 12.4324 | 0
07/23 07:00:00 | 19.55 | 0 | 0 | 0 | 0 | 0 | 0 | 24.4163 | 0.0060488 | 24.4163 | 0.0060488 | 0 | 13.8381 | 13.8381 | 1 | 0 | 0 | 1.0396 | 1 | 1 | 12.5116 | 0
07/23 08:00:00 | 22.6625 | 367.2389 | 2148.824 | 2000.0556 | 2476.8013 | 0.79007 | 0.14444 | 23.587 | 0.006157 | 11.1957 | 0.0057427 | 0.38008 | 13.2795 | 14.8358 | 3.1 | 0.42259 | 36.4419 | 1.0449 | 1 | 1 | 12.3066 | 0.30432
07/23 09:00:00 | 25.65 | 945.5559 | 5621.2022 | 5142.6083 | 6472.2025 | 1 | 0.30725 | 23.4236 | 0.0062986 | 6.9654 | 0.0056793 | 0.38008 | 13.0541 | 17.1207 | 8.25 | 0.51179 | 94.5556 | 1.047 | 1 | 1 | 12.3724 | 0.79444
07/23 10:00:00 | 27.3875 | 1084.9905 | 6441.0005 | 5925.1254 | 7417.4919 | 1 | 0.34493 | 23.4232 | 0.0062269 | 6.5247 | 0.0056315 | 0.38008 | 13.1195 | 17.7802 | 9.5 | 0.52013 | 108.499 | 1.0463 | 1 | 1 | 12.306 | 0.91091
07/23 11:00:00 | 29.55 | 1151.6669 | 6809.9344 | 6304.01 | 7846.4346 | 1 | 0.36259 | 23.4233 | 0.0061426 | 6.3155 | 0.0055872 | 0.38008 | 13.2864 | 18.2168 | 10 | 0.6099 | 115.1667 | 1.0447 | 1 | 1 | 12.2241 | 0.9646
07/23 12:00:00 | 31.2875 | 1172.1044 | 6906.5236 | 6431.5851 | 7961.4175 | 1 | 0.36755 | 23.4234 | 0.0060611 | 6.2025 | 0.0055467 | 0.38008 | 13.4377 | 18.4407 | 10 | 0.77575 | 117.2104 | 1.0432 | 1 | 1 | 12.1405 | 0.97965
07/23 13:00:00 | 32.3875 | 1065.6722 | 6250.403 | 5846.1157 | 7209.5081 | 1 | 0.33745 | 23.4237 | 0.0059973 | 6.3721 | 0.0055205 | 0.38008 | 13.6226 | 18.1533 | 9 | 0.77038 | 106.5672 | 1.0415 | 1 | 1 | 12.0738 | 0.88806
07/23 14:00:00 | 32.425 | 1199.0109 | 7034.6909 | 6606.0284 | 8113.8006 | 1 | 0.37411 | 23.438 | 0.0059511 | 6.0566 | 0.005495 | 0.38008 | 13.6263 | 18.7253 | 10 | 0.99484 | 119.9011 | 1.0414 | 1 | 1 | 12.0292 | 0.99953
07/23 15:00:00 | 32.575 | 1200.8707 | 7033.2528 | 6655.9927 | 8114.0364 | 1 | 0.37427 | 23.537 | 0.0058682 | 6.0287 | 0.005467 | 0.38008 | 13.7026 | 18.8018 | 10 | 1 | 120.0871 | 1.0407 | 1 | 1 | 11.9854 | 1
07/23 16:00:00 | 32.425 | 1197.0068 | 6992.3408 | 6609.7533 | 8069.6468 | 1 | 0.37258 | 23.5514 | 0.0059006 | 6.0875 | 0.0054918 | 0.38008 | 13.784 | 18.8554 | 10 | 0.94372 | 119.7007 | 1.04 | 1 | 1 | 12.0164 | 0.99489
07/23 17:00:00 | 28.075 | 1022.5888 | 5950.7577 | 5611.6506 | 6871.0876 | 1 | 0.32444 | 23.426 | 0.0058839 | 6.405 | 0.0054681 | 0.38008 | 13.9385 | 18.2569 | 9 | 0.33593 | 102.2589 | 1.0386 | 1 | 1 | 11.9613 | 0.84784
07/23 18:00:00 | 24.5375 | 0 | 0 | 0 | 0 | 0 | 0 | 24.2186 | 0.0060476 | 24.2186 | 0.0060476 | 0 | 14.0162 | 14.0162 | 1 | 0 | 0 | 1.0379 | 1 | 1 | 12.4052 | 0
07/23 19:00:00 | 24.5875 | 0 | 0 | 0 | 0 | 0 | 0 | 25.278 | 0.006297 | 25.278 | 0.006297 | 0 | 14.0162 | 14.0162 | 1 | 0 | 0 | 1.0379 | 1 | 1 | 13.0077 | 0
07/23 20:00:00 | 24.625 | 0 | 0 | 0 | 0 | 0 | 0 | 24.8845 | 0.0063337 | 24.8845 | 0.0063337 | 0 | 14.0162 | 14.0162 | 1 | 0 | 0 | 1.0379 | 1 | 1 | 12.9026 | 0
07/23 21:00:00 | 25.15 | 0 | 0 | 0 | 0 | 0 | 0 | 24.8675 | 0.006356 | 24.8675 | 0.006356 | 0 | 14.0162 | 14.0162 | 1 | 0 | 0 | 1.0379 | 1 | 1 | 12.9226 | 0
07/23 22:00:00 | 23.85 | 0 | 0 | 0 | 0 | 0 | 0 | 24.7283 | 0.0063808 | 24.7283 | 0.0063808 | 0 | 14.0162 | 14.0162 | 1 | 0 | 0 | 1.0379 | 1 | 1 | 12.895 | 0
07/23 23:00:00 | 22.1125 | 0 | 0 | 0 | 0 | 0 | 0 | 24.4954 | 0.0063945 | 24.4954 | 0.0063945 | 0 | 14.0162 | 14.0162 | 1 | 0 | 0 | 1.0379 | 1 | 1 | 12.8202 | 0
07/23 24:00:00 | 21.325 | 0 | 0 | 0 | 0 | 0 | 0 | 24.3051 | 0.006405 | 24.3051 | 0.006405 | 0 | 14.0162 | 14.0162 | 1 | 0 | 0 | 1.0379 | 1 | 1 | 12.7582 | 0
07/24 01:00:00 | 20.4125 | 0 | 0 | 0 | 0 | 0 | 0 | 24.1516 | 0.0064192 | 24.1516 | 0.0064192 | 0 | 14.0162 | 14.0162 | 1 | 0 | 0 | 1.0379 | 1 | 1 | 12.7093 | 0
07/24 02:00:00 | 19.625 | 0 | 0 | 0 | 0 | 0 | 0 | 24.0151 | 0.0064342 | 24.0151 | 0.0064342 | 0 | 14.0162 | 14.0162 | 1 | 0 | 0 | 1.0379 | 1 | 1 | 12.6706 | 0
07/24 03:00:00 | 18.4 | 0 | 0 | 0 | 0 | 0 | 0 | 23.9125 | 0.0064471 | 23.9125 | 0.0064471 | 0 | 14.0162 | 14.0162 | 1 | 0 | 0 | 1.0379 | 1 | 1 | 12.6475 | 0
07/24 04:00:00 | 17.425 | 0 | 0 | 0 | 0 | 0 | 0 | 23.7846 | 0.0064594 | 23.7846 | 0.0064594 | 0 | 14.0162 | 14.0162 | 1 | 0 | 0 | 1.0379 | 1 | 1 | 12.6168 | 0
07/24 05:00:00 | 17.575 | 0 | 0 | 0 | 0 | 0 | 0 | 23.6648 | 0.006471 | 23.6648 | 0.006471 | 0 | 14.0162 | 14.0162 | 1 | 0 | 0 | 1.0379 | 1 | 1 | 12.588 | 0
07/24 06:00:00 | 17.8 | 0 | 0 | 0 | 0 | 0 | 0 | 23.6342 | 0.006479 | 23.6342 | 0.006479 | 0 | 14.0162 | 14.0162 | 1 | 0 | 0 | 1.0379 | 1 | 1 | 12.5876 | 0
07/24 07:00:00 | 19.55 | 0 | 0 | 0 | 0 | 0 | 0 | 23.8135 | 0.0065007 | 23.8135 | 0.0065007 | 0 | 14.0162 | 14.0162 | 1 | 0 | 0 | 1.0379 | 1 | 1 | 12.6753 | 0
07/24 08:00:00 | 22.2875 | 286.3941 | 1665.3347 | 1502.5274 | 1921.3868 | 0.73635 | 0.12038 | 23.535 | 0.0066161 | 12.2576 | 0.0060917 | 0.38008 | 13.3995 | 14.607 | 2.25 | 0.41366 | 28.4502 | 1.0445 | 1 | 1 | 12.6811 | 0.23593
07/24 09:00:00 | 24.3625 | 887.46 | 5248.1362 | 4660.2341 | 6046.8503 | 1 | 0.29038 | 23.4228 | 0.0067916 | 7.6553 | 0.0059869 | 0.38008 | 13.1263 | 16.9258 | 7.75 | 0.44814 | 88.746 | 1.0474 | 1 | 1 | 12.7968 | 0.74146
07/24 10:00:00 | 26.75 | 1008.8619 | 5958.3562 | 5332.4597 | 6866.3319 | 1 | 0.3227 | 23.4224 | 0.0066797 | 7.1798 | 0.005908 | 0.38008 | 13.1923 | 17.5068 | 8.75 | 0.52764 | 100.8862 | 1.0465 | 1 | 1 | 12.6983 | 0.84254
07/24 11:00:00 | 28.1125 | 1074.7159 | 6322.3752 | 5683.2413 | 7289.6195 | 1 | 0.33982 | 23.4224 | 0.0066246 | 6.9808 | 0.0058764 | 0.38008 | 13.3475 | 17.9282 | 9 | 0.84958 | 107.4716 | 1.0449 | 1 | 1 | 12.6476 | 0.89537
07/24 12:00:00 | 28.9875 | 1107.2876 | 6495.7469 | 5889.1923 | 7492.3058 | 1 | 0.34828 | 23.4226 | 0.0064991 | 6.7948 | 0.0058062 | 0.38008 | 13.4788 | 18.187 | 10 | 0.132 | 110.7288 | 1.0434 | 1 | 1 | 12.5324 | 0.92124
07/24 13:00:00 | 30.4625 | 1008.8887 | 5895.121 | 5388.6257 | 6803.1209 | 1 | 0.32107 | 23.423 | 0.0063703 | 6.9154 | 0.0057427 | 0.38008 | 13.6524 | 17.9277 | 9 | 0.22323 | 100.8889 | 1.0415 | 1 | 1 | 12.4142 | 0.83753
07/24 14:00:00 | 31.1 | 1152.4116 | 6744.4309 | 6241.4627 | 7781.6013 | 1 | 0.36053 | 23.4232 | 0.0061841 | 6.3896 | 0.0056289 | 0.38008 | 13.6476 | 18.5378 | 10 | 0.54109 | 115.2412 | 1.0414 | 1 | 1 | 12.2394 | 0.95836
07/24 15:00:00 | 30.7875 | 1120.166 | 6545.5799 | 6105.9675 | 7553.7293 | 1 | 0.35148 | 23.4235 | 0.006057 | 6.3269 | 0.0055594 | 0.38008 | 13.7393 | 18.4864 | 9.75 | 0.48888 | 112.0166 | 1.0404 | 1 | 1 | 12.121 | 0.93094
07/24 16:00:00 | 22.9125 | 939.5745 | 5456.4914 | 5035.9186 | 6302.1085 | 1 | 0.30175 | 23.4236 | 0.0062293 | 7.0222 | 0.0056719 | 0.38008 | 13.9123 | 17.873 | 8 | 0.57788 | 93.9575 | 1.039 | 1 | 1 | 12.2949 | 0.77709
07/24 17:00:00 | 19.3625 | 886.1283 | 5115.2803 | 4542.7576 | 5912.7957 | 1 | 0.28612 | 23.4227 | 0.0068343 | 7.8192 | 0.0060399 | 0.38008 | 13.9819 | 17.698 | 7.5 | 0.55603 | 88.6128 | 1.0396 | 1 | 1 | 12.8444 | 0.72811
07/24 18:00:00 | 21.375 | 0 | 0 | 0 | 0 | 0 | 0 | 24.3 | 0.0072518 | 24.3 | 0.0072518 | 0 | 13.9411 | 13.9411 | 1 | 0 | 0 | 1.0403 | 1 | 1 | 13.5133 | 0
07/24 19:00:00 | 21.5125 | 0 | 0 | 0 | 0 | 0 | 0 | 24.7569 | 0.0075537 | 24.7569 | 0.0075537 | 0 | 13.9411 | 13.9411 | 1 | 0 | 0 | 1.0403 | 1 | 1 | 13.9315 | 0
07/24 20:00:00 | 20.4125 | 0 | 0 | 0 | 0 | 0 | 0 | 24.5338 | 0.0076021 | 24.5338 | 0.0076021 | 0 | 13.9411 | 13.9411 | 1 | 0 | 0 | 1.0403 | 1 | 1 | 13.8976 | 0
07/24 21:00:00 | 19.625 | 0 | 0 | 0 | 0 | 0 | 0 | 24.3572 | 0.0076349 | 24.3572 | 0.0076349 | 0 | 13.9411 | 13.9411 | 1 | 0 | 0 | 1.0403 | 1 | 1 | 13.867 | 0
07/24 22:00:00 | 19.0875 | 0 | 0 | 0 | 0 | 0 | 0 | 24.2383 | 0.0076663 | 24.2383 | 0.0076663 | 0 | 13.9411 | 13.9411 | 1 | 0 | 0 | 1.0403 | 1 | 1 | 13.8516 | 0
07/24 23:00:00 | 18.2125 | 0 | 0 | 0 | 0 | 0 | 0 | 24.1127 | 0.0076917 | 24.1127 | 0.0076917 | 0 | 13.9411 | 13.9411 | 1 | 0 | 0 | 1.0403 | 1 | 1 | 13.8256 | 0
07/24 24:00:00 | 17.425 | 0 | 0 | 0 | 0 | 0 | 0 | 23.9874 | 0.0077149 | 23.9874 | 0.0077149 | 0 | 13.9411 | 13.9411 | 1 | 0 | 0 | 1.0403 | 1 | 1 | 13.8002 | 0
07/25 01:00:00 | 16.8875 | 0 | 0 | 0 | 0 | 0 | 0 | 23.6411 | 0.0077365 | 23.6411 | 0.0077365 | 0 | 13.9411 | 13.9411 | 1 | 0 | 0 | 1.0403 | 1 | 1 | 13.6969 | 0
07/25 02:00:00 | 16.7 | 0 | 0 | 0 | 0 | 0 | 0 | 23.1958 | 0.0077537 | 23.1958 | 0.0077537 | 0 | 13.9411 | 13.9411 | 1 | 0 | 0 | 1.0403 | 1 | 1 | 13.554 | 0
07/25 03:00:00 | 16.325 | 0 | 0 | 0 | 0 | 0 | 0 | 23.0023 | 0.0077684 | 23.0023 | 0.0077684 | 0 | 13.9411 | 13.9411 | 1 | 0 | 0 | 1.0403 | 1 | 1 | 13.5002 | 0
07/25 04:00:00 | 16.1 | 0 | 0 | 0 | 0 | 0 | 0 | 22.8565 | 0.0077775 | 22.8565 | 0.0077775 | 0 | 13.9411 | 13.9411 | 1 | 0 | 0 | 1.0403 | 1 | 1 | 13.4608 | 0
07/25 05:00:00 | 15.7875 | 0 | 0 | 0 | 0 | 0 | 0 | 22.7308 | 0.0077828 | 22.7308 | 0.0077828 | 0 | 13.9411 | 13.9411 | 1 | 0 | 0 | 1.0403 | 1 | 1 | 13.4258 | 0
07/25 06:00:00 | 16.2875 | 0 | 0 | 0 | 0 | 0 | 0 | 22.6506 | 0.0077874 | 22.6506 | 0.0077874 | 0 | 13.9411 | 13.9411 | 1 | 0 | 0 | 1.0403 | 1 | 1 | 13.4059 | 0
07/25 07:00:00 | 18.3875 | 0 | 0 | 0 | 0 | 0 | 0 | 23.036 | 0.0077916 | 23.036 | 0.0077916 | 0 | 13.9411 | 13.9411 | 1 | 0 | 0 | 1.0403 | 1 | 1 | 13.5478 | 0
07/25 08:00:00 | 20.4625 | 191.0643 | 1101.6762 | 922.5716 | 1271.1455 | 0.54564 | 0.082984 | 23.3134 | 0.0077088 | 16.7723 | 0.0071904 | 0.23755 | 13.2824 | 14.0812 | 1.5 | 0.066178 | 18.8299 | 1.0497 | 1 | 1 | 13.5827 | 0.1553
07/25 09:00:00 | 21.475 | 340.1392 | 1988.1286 | 1670.9737 | 2294.2539 | 1 | 0.15054 | 23.4235 | 0.0075665 | 12.5313 | 0.0067318 | 0.38008 | 13.4145 | 14.8562 | 2.75 | 0.30566 | 34.0139 | 1.048 | 1 | 1 | 13.5044 | 0.28072
07/25 10:00:00 | 23.075 | 406.2261 | 2373.9851 | 2002.997 | 2739.5886 | 1 | 0.16644 | 23.423 | 0.0075306 | 11.6259 | 0.0066478 | 0.38008 | 13.4256 | 15.1471 | 3.5 | 0.48476 | 40.6226 | 1.0477 | 1 | 1 | 13.4736 | 0.3353
07/25 11:00:00 | 25.65 | 487.1708 | 2848.4015 | 2429.9665 | 3286.8552 | 1 | 0.18629 | 23.4228 | 0.0073805 | 10.6208 | 0.0064892 | 0.38008 | 13.4267 | 15.4921 | 4 | 0.72166 | 48.7171 | 1.0469 | 1 | 1 | 13.3448 | 0.40259
07/25 12:00:00 | 28.075 | 541.657 | 3167.5472 | 2746.9161 | 3655.0385 | 1 | 0.1999 | 23.4229 | 0.0071304 | 9.9287 | 0.0062948 | 0.38008 | 13.4577 | 15.7546 | 5 | 0.17637 | 54.1657 | 1.0456 | 1 | 1 | 13.1258 | 0.44828
07/25 13:00:00 | 29.9625 | 409.7148 | 2391.7108 | 2116.0462 | 2760.4542 | 1 | 0.16757 | 23.4235 | 0.0067875 | 11.0121 | 0.0061351 | 0.38008 | 13.5846 | 15.3193 | 4 | 0.096498 | 40.9715 | 1.0432 | 1 | 1 | 12.8228 | 0.33925
07/25 14:00:00 | 31.6 | 412.1088 | 2410.6123 | 2191.1438 | 2781.5102 | 1 | 0.16848 | 23.4241 | 0.0063556 | 10.6317 | 0.0058387 | 0.38008 | 13.609 | 15.357 | 4 | 0.12683 | 41.2109 | 1.042 | 1 | 1 | 12.4372 | 0.34233
07/25 15:00:00 | 31.8875 | 405.4106 | 2379.0535 | 2218.8908 | 2743.9231 | 1 | 0.16719 | 23.4246 | 0.0059248 | 10.3601 | 0.0055449 | 0.38008 | 13.614 | 15.3384 | 4 | 0.083996 | 40.5411 | 1.0416 | 1 | 1 | 12.0462 | 0.33799
07/25 16:00:00 | 32.0125 | 400.0533 | 2354.1792 | 2240.0415 | 2714.2272 | 1 | 0.16615 | 23.4252 | 0.0055878 | 10.1452 | 0.0053152 | 0.38008 | 13.6258 | 15.3315 | 4 | 0.049075 | 40.0053 | 1.0416 | 1 | 1 | 11.7356 | 0.33445
07/25 17:00:00 | 31.8875 | 376.7432 | 2222.1922 | 2146.8542 | 2561.2611 | 1 | 0.16066 | 23.4256 | 0.005323 | 10.2587 | 0.0051373 | 0.38008 | 13.6407 | 15.2503 | 3 | 0.73155 | 37.6743 | 1.0418 | 1 | 1 | 11.4877 | 0.31562
07/25 18:00:00 | 31.7 | 0 | 0 | 0 | 0 | 0 | 0 | 23.7381 | 0.0051674 | 23.7381 | 0.0051674 | 0 | 13.6547 | 13.6547 | 1 | 0 | 0 | 1.0419 | 1 | 1 | 11.4587 | 0
07/25 19:00:00 | 30.6375 | 0 | 0 | 0 | 0 | 0 | 0 | 24.3034 | 0.0051173 | 24.3034 | 0.0051173 | 0 | 13.6547 | 13.6547 | 1 | 0 | 0 | 1.0419 | 1 | 1 | 11.6241 | 0
07/25 20:00:00 | 27.25 | 0 | 0 | 0 | 0 | 0 | 0 | 24.1687 | 0.0051196 | 24.1687 | 0.0051196 | 0 | 13.6547 | 13.6547 | 1 | 0 | 0 | 1.0419 | 1 | 1 | 11.5787 | 0
07/25 21:00:00 | 24.85 | 0 | 0 | 0 | 0 | 0 | 0 | 24.0655 | 0.0051393 | 24.0655 | 0.0051393 | 0 | 13.6547 | 13.6547 | 1 | 0 | 0 | 1.0419 | 1 | 1 | 11.5651 | 0
07/25 22:00:00 | 23.025 | 0 | 0 | 0 | 0 | 0 | 0 | 24.0038 | 0.005162 | 24.0038 | 0.005162 | 0 | 13.6547 | 13.6547 | 1 | 0 | 0 | 1.0419 | 1 | 1 | 11.5681 | 0
07/25 23:00:00 | 21.5125 | 0 | 0 | 0 | 0 | 0 | 0 | 23.9288 | 0.0051857 | 23.9288 | 0.0051857 | 0 | 13.6547 | 13.6547 | 1 | 0 | 0 | 1.0419 | 1 | 1 | 11.5611 | 0
07/25 24:00:00 | 20.0375 | 0 | 0 | 0 | 0 | 0 | 0 | 23.8447 | 0.005207 | 23.8447 | 0.005207 | 0 | 13.6547 | 13.6547 | 1 | 0 | 0 | 1.0419 | 1 | 1 | 11.5453 | 0
07/26 01:00:00 | 19.775 | 0 | 0 | 0 | 0 | 0 | 0 | 23.7272 | 0.0052293 | 23.7272 | 0.0052293 | 0 | 13.6547 | 13.6547 | 1 | 0 | 0 | 1.0419 | 1 | 1 | 11.5202 | 0
07/26 02:00:00 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 23.6489 | 0.0052467 | 23.6489 | 0.0052467 | 0 | 13.6547 | 13.6547 | 1 | 0 | 0 | 1.0419 | 1 | 1 | 11.507 | 0
07/26 03:00:00 | 19.3125 | 0 | 0 | 0 | 0 | 0 | 0 | 23.5523 | 0.0052584 | 23.5523 | 0.0052584 | 0 | 13.6547 | 13.6547 | 1 | 0 | 0 | 1.0419 | 1 | 1 | 11.4816 | 0
07/26 04:00:00 | 18.9 | 0 | 0 | 0 | 0 | 0 | 0 | 23.4344 | 0.0052681 | 23.4344 | 0.0052681 | 0 | 13.6547 | 13.6547 | 1 | 0 | 0 | 1.0419 | 1 | 1 | 11.4492 | 0
07/26 05:00:00 | 18.2125 | 0 | 0 | 0 | 0 | 0 | 0 | 23.3169 | 0.0052776 | 23.3169 | 0.0052776 | 0 | 13.6547 | 13.6547 | 1 | 0 | 0 | 1.0419 | 1 | 1 | 11.4198 | 0
07/26 06:00:00 | 18.4875 | 0 | 0 | 0 | 0 | 0 | 0 | 23.2384 | 0.0052871 | 23.2384 | 0.0052871 | 0 | 13.6547 | 13.6547 | 1 | 0 | 0 | 1.0419 | 1 | 1 | 11.4045 | 0
07/26 07:00:00 | 20.275 | 0 | 0 | 0 | 0 | 0 | 0 | 23.3768 | 0.005297 | 23.3768 | 0.005297 | 0 | 13.6547 | 13.6547 | 1 | 0 | 0 | 1.0419 | 1 | 1 | 11.4695 | 0
07/26 08:00:00 | 23.5375 | 157.8284 | 910.0449 | 877.8815 | 1047.9228 | 0.46008 | 0.069333 | 23.302 | 0.0053921 | 15.8665 | 0.0052692 | 0.23755 | 13.2877 | 13.9462 | 1.375 | 0.12026 | 15.3198 | 1.0442 | 1 | 1 | 11.5305 | 0.12896
07/26 09:00:00 | 26.375 | 232.0339 | 1345.3755 | 1269.0195 | 1549.6788 | 0.84546 | 0.11391 | 23.4361 | 0.005656 | 12.4603 | 0.005392 | 0.38008 | 13.3406 | 14.3144 | 1 | 0 | 22.7004 | 1.0441 | 1 | 1 | 11.8258 | 0.19067
07/26 10:00:00 | 29.6375 | 327.7873 | 1943.7523 | 1835.6902 | 2238.7608 | 1 | 0.14905 | 23.4253 | 0.0056665 | 11.3211 | 0.0053791 | 0.38008 | 13.3232 | 14.73 | 2.5 | 0.456 | 32.7787 | 1.0443 | 1 | 1 | 11.8327 | 0.27543
07/26 11:00:00 | 31.7875 | 371.2896 | 2204.097 | 2102.7482 | 2538.2576 | 1 | 0.1597 | 23.4252 | 0.005507 | 10.4542 | 0.0052552 | 0.38008 | 13.3415 | 14.9365 | 3 | 0.66775 | 37.129 | 1.0442 | 1 | 1 | 11.6821 | 0.31233
07/26 12:00:00 | 32.2 | 371.5256 | 2207.8063 | 2137.9725 | 2542.1793 | 1 | 0.15987 | 23.4255 | 0.0052572 | 10.2449 | 0.0050839 | 0.38008 | 13.4001 | 14.9976 | 3 | 0.67873 | 37.1526 | 1.0441 | 1 | 1 | 11.4487 | 0.3129
07/26 13:00:00 | 33.2625 | 395.8191 | 2360.2633 | 2333.3514 | 2716.5005 | 1 | 0.16611 | 23.426 | 0.0049119 | 9.5768 | 0.0048471 | 0.38008 | 13.4267 | 15.1337 | 3.75 | 0.278 | 39.5819 | 1.0448 | 1 | 1 | 11.1233 | 0.33429
07/26 14:00:00 | 33.9 | 411.821 | 2460.4914 | 2459.4138 | 2831.1304 | 1 | 0.17024 | 23.426 | 0.0047144 | 9.1734 | 0.0047119 | 0.38008 | 13.4469 | 15.226 | 4 | 0.18589 | 41.1821 | 1.0453 | 1 | 1 | 10.9331 | 0.34831
07/26 15:00:00 | 34.5875 | 429.3403 | 2563.9779 | 2563.9779 | 2950.3842 | 1 | 0.17458 | 23.4265 | 0.0046855 | 8.938 | 0.0046855 | 0.38008 | 13.4739 | 15.328 | 4 | 0.33088 | 42.934 | 1.0452 | 1 | 1 | 10.9027 | 0.363
07/26 16:00:00 | 34.625 | 422.8269 | 2523.4667 | 2523.4667 | 2904.0109 | 1 | 0.17291 | 23.4265 | 0.0046748 | 9.0289 | 0.0046748 | 0.38008 | 13.5018 | 15.3267 | 4 | 0.27489 | 42.2827 | 1.045 | 1 | 1 | 10.8885 | 0.35733
07/26 17:00:00 | 34.4 | 393.6751 | 2347.6103 | 2347.6103 | 2701.9179 | 1 | 0.16558 | 23.4265 | 0.0046353 | 9.4374 | 0.0046353 | 0.38008 | 13.5464 | 15.2443 | 3.75 | 0.26917 | 39.3675 | 1.0448 | 1 | 1 | 10.8445 | 0.3325
07/26 18:00:00 | 34.0875 | 0 | 0 | 0 | 0 | 0 | 0 | 24.2519 | 0.0045739 | 24.2519 | 0.0045739 | 0 | 13.5592 | 13.5592 | 1 | 0 | 0 | 1.0447 | 1 | 1 | 11.0954 | 0
07/26 19:00:00 | 32.15 | 0 | 0 | 0 | 0 | 0 | 0 | 24.7107 | 0.0045846 | 24.7107 | 0.0045846 | 0 | 13.5592 | 13.5592 | 1 | 0 | 0 | 1.0447 | 1 | 1 | 11.2838 | 0
07/26 20:00:00 | 30.0375 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6082 | 0.0045953 | 24.6082 | 0.0045953 | 0 | 13.5592 | 13.5592 | 1 | 0 | 0 | 1.0447 | 1 | 1 | 11.2601 | 0
07/26 21:00:00 | 29.0875 | 0 | 0 | 0 | 0 | 0 | 0 | 24.5858 | 0.0046035 | 24.5858 | 0.0046035 | 0 | 13.5592 | 13.5592 | 1 | 0 | 0 | 1.0447 | 1 | 1 | 11.2634 | 0
07/26 22:00:00 | 27.525 | 0 | 0 | 0 | 0 | 0 | 0 | 24.5665 | 0.0046158 | 24.5665 | 0.0046158 | 0 | 13.5592 | 13.5592 | 1 | 0 | 0 | 1.0447 | 1 | 1 | 11.2715 | 0
07/26 23:00:00 | 24.95 | 0 | 0 | 0 | 0 | 0 | 0 | 24.4872 | 0.0046336 | 24.4872 | 0.0046336 | 0 | 13.5592 | 13.5592 | 1 | 0 | 0 | 1.0447 | 1 | 1 | 11.2616 | 0
07/26 24:00:00 | 22.525 | 0 | 0 | 0 | 0 | 0 | 0 | 24.3349 | 0.0046599 | 24.3349 | 0.0046599 | 0 | 13.5592 | 13.5592 | 1 | 0 | 0 | 1.0447 | 1 | 1 | 11.2298 | 0
07/27 01:00:00 | 20.6375 | 0 | 0 | 0 | 0 | 0 | 0 | 24.445 | 0.0046842 | 24.445 | 0.0046842 | 0 | 13.5592 | 13.5592 | 1 | 0 | 0 | 1.0447 | 1 | 1 | 11.297 | 0
07/27 02:00:00 | 19.625 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6675 | 0.0047037 | 24.6675 | 0.0047037 | 0 | 13.5592 | 13.5592 | 1 | 0 | 0 | 1.0447 | 1 | 1 | 11.398 | 0
07/27 03:00:00 | 19.0875 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6443 | 0.0047228 | 24.6443 | 0.0047228 | 0 | 13.5592 | 13.5592 | 1 | 0 | 0 | 1.0447 | 1 | 1 | 11.4054 | 0
07/27 04:00:00 | 18.525 | 0 | 0 | 0 | 0 | 0 | 0 | 24.5503 | 0.0047376 | 24.5503 | 0.0047376 | 0 | 13.5592 | 13.5592 | 1 | 0 | 0 | 1.0447 | 1 | 1 | 11.3838 | 0
07/27 05:00:00 | 18.3 | 0 | 0 | 0 | 0 | 0 | 0 | 24.4216 | 0.0047498 | 24.4216 | 0.0047498 | 0 | 13.5592 | 13.5592 | 1 | 0 | 0 | 1.0447 | 1 | 1 | 11.3467 | 0
07/27 06:00:00 | 18.9875 | 0 | 0 | 0 | 0 | 0 | 0 | 24.3511 | 0.0047597 | 24.3511 | 0.0047597 | 0 | 13.5592 | 13.5592 | 1 | 0 | 0 | 1.0447 | 1 | 1 | 11.3294 | 0
07/27 07:00:00 | 21.525 | 0 | 0 | 0 | 0 | 0 | 0 | 24.5127 | 0.0047819 | 24.5127 | 0.0047819 | 0 | 13.5592 | 13.5592 | 1 | 0 | 0 | 1.0447 | 1 | 1 | 11.4087 | 0
07/27 08:00:00 | 24.55 | 384.5812 | 2283.6279 | 2252.4806 | 2627.3638 | 0.81331 | 0.15133 | 23.5627 | 0.005 | 10.495 | 0.004911 | 0.36424 | 13.1533 | 14.8042 | 3.2083 | 0.56896 | 38.1929 | 1.0467 | 1 | 1 | 11.2504 | 0.32283
07/27 09:00:00 | 27.6625 | 931.3521 | 5594.1366 | 5386.7262 | 6432.3535 | 1 | 0.30586 | 23.4252 | 0.0054221 | 6.0756 | 0.0051544 | 0.38008 | 12.9716 | 17.0131 | 8.25 | 0.46525 | 93.1352 | 1.0477 | 1 | 1 | 11.5898 | 0.79006
07/27 10:00:00 | 29.5875 | 1055.8856 | 6305.8117 | 5980.2647 | 7256.1088 | 1 | 0.33858 | 23.4244 | 0.0057033 | 6.0299 | 0.0053209 | 0.38008 | 13.0666 | 17.6258 | 9 | 0.80816 | 105.5886 | 1.0466 | 1 | 1 | 11.8478 | 0.89154
07/27 11:00:00 | 30.375 | 1122.8122 | 6657.9161 | 6242.4594 | 7668.4471 | 1 | 0.35541 | 23.4239 | 0.0059129 | 6.1335 | 0.0054478 | 0.38008 | 13.2487 | 18.0672 | 10 | 0.37026 | 112.2812 | 1.0449 | 1 | 1 | 12.0382 | 0.94285
07/27 12:00:00 | 31.975 | 1183.9583 | 6994.2499 | 6555.4417 | 8059.8124 | 1 | 0.37149 | 23.4243 | 0.0059326 | 6.054 | 0.0054623 | 0.38008 | 13.3752 | 18.4399 | 10 | 0.90728 | 118.3958 | 1.0437 | 1 | 1 | 12.0562 | 0.99158
07/27 13:00:00 | 33.1125 | 1076.4743 | 6332.2188 | 5987.1538 | 7301.0457 | 1 | 0.3411 | 23.4312 | 0.0057939 | 6.1483 | 0.0053915 | 0.38008 | 13.5695 | 18.1576 | 9.25 | 0.64216 | 107.6474 | 1.042 | 1 | 1 | 11.93 | 0.89926
07/27 14:00:00 | 33.9875 | 1189.9588 | 6999.8442 | 6663.4604 | 8070.8072 | 1 | 0.3724 | 23.4243 | 0.0056928 | 5.8028 | 0.0053332 | 0.38008 | 13.6045 | 18.6765 | 10 | 0.93761 | 118.9959 | 1.0417 | 1 | 1 | 11.8286 | 0.99434
07/27 15:00:00 | 34.4 | 1198.8482 | 7035.1358 | 6697.7214 | 8114.0992 | 1 | 0.37427 | 23.4726 | 0.0057181 | 5.8496 | 0.0053591 | 0.38008 | 13.676 | 18.7753 | 10 | 1 | 119.8848 | 1.041 | 1 | 1 | 11.8643 | 1
07/27 16:00:00 | 34.0875 | 1200.4832 | 7030.0258 | 6736.2035 | 8110.4607 | 1 | 0.37427 | 23.559 | 0.0056518 | 5.8327 | 0.0053393 | 0.38008 | 13.7613 | 18.8584 | 10 | 1 | 120.0483 | 1.0403 | 1 | 1 | 11.8296 | 1
07/27 17:00:00 | 33.525 | 1157.0509 | 6765.8032 | 6494.8756 | 7807.149 | 1 | 0.36208 | 23.4483 | 0.0055796 | 5.78 | 0.0052819 | 0.38008 | 13.8503 | 18.7569 | 10 | 0.59302 | 115.7051 | 1.0395 | 1 | 1 | 11.7245 | 0.96308
07/27 18:00:00 | 30.8625 | 0 | 0 | 0 | 0 | 0 | 0 | 25.1524 | 0.0055734 | 25.1524 | 0.0055734 | 0 | 13.8978 | 13.8978 | 1 | 0 | 0 | 1.0392 | 1 | 1 | 12.352 | 0
07/27 19:00:00 | 28.4 | 0 | 0 | 0 | 0 | 0 | 0 | 25.7063 | 0.005672 | 25.7063 | 0.005672 | 0 | 13.8978 | 13.8978 | 1 | 0 | 0 | 1.0392 | 1 | 1 | 12.6539 | 0
07/27 20:00:00 | 27.1125 | 0 | 0 | 0 | 0 | 0 | 0 | 25.5338 | 0.005693 | 25.5338 | 0.005693 | 0 | 13.8978 | 13.8978 | 1 | 0 | 0 | 1.0392 | 1 | 1 | 12.6127 | 0
07/27 21:00:00 | 26.0125 | 0 | 0 | 0 | 0 | 0 | 0 | 25.4453 | 0.0057129 | 25.4453 | 0.0057129 | 0 | 13.8978 | 13.8978 | 1 | 0 | 0 | 1.0392 | 1 | 1 | 12.5995 | 0
07/27 22:00:00 | 24.5375 | 0 | 0 | 0 | 0 | 0 | 0 | 25.3425 | 0.0057351 | 25.3425 | 0.0057351 | 0 | 13.8978 | 13.8978 | 1 | 0 | 0 | 1.0392 | 1 | 1 | 12.5813 | 0
07/27 23:00:00 | 23.9 | 0 | 0 | 0 | 0 | 0 | 0 | 25.2273 | 0.0057569 | 25.2273 | 0.0057569 | 0 | 13.8978 | 13.8978 | 1 | 0 | 0 | 1.0392 | 1 | 1 | 12.5527 | 0
07/27 24:00:00 | 22.8375 | 0 | 0 | 0 | 0 | 0 | 0 | 25.1162 | 0.0057731 | 25.1162 | 0.0057731 | 0 | 13.8978 | 13.8978 | 1 | 0 | 0 | 1.0392 | 1 | 1 | 12.5241 | 0
07/28 01:00:00 | 22.2 | 0 | 0 | 0 | 0 | 0 | 0 | 24.9867 | 0.0057887 | 24.9867 | 0.0057887 | 0 | 13.8978 | 13.8978 | 1 | 0 | 0 | 1.0392 | 1 | 1 | 12.489 | 0
07/28 02:00:00 | 21.2 | 0 | 0 | 0 | 0 | 0 | 0 | 24.8747 | 0.0058024 | 24.8747 | 0.0058024 | 0 | 13.8978 | 13.8978 | 1 | 0 | 0 | 1.0392 | 1 | 1 | 12.4595 | 0
07/28 03:00:00 | 20.225 | 0 | 0 | 0 | 0 | 0 | 0 | 24.7075 | 0.0058171 | 24.7075 | 0.0058171 | 0 | 13.8978 | 13.8978 | 1 | 0 | 0 | 1.0392 | 1 | 1 | 12.407 | 0
07/28 04:00:00 | 19.625 | 0 | 0 | 0 | 0 | 0 | 0 | 24.585 | 0.0058338 | 24.585 | 0.0058338 | 0 | 13.8978 | 13.8978 | 1 | 0 | 0 | 1.0392 | 1 | 1 | 12.3768 | 0
07/28 05:00:00 | 19.775 | 0 | 0 | 0 | 0 | 0 | 0 | 24.4726 | 0.0058499 | 24.4726 | 0.0058499 | 0 | 13.8978 | 13.8978 | 1 | 0 | 0 | 1.0392 | 1 | 1 | 12.3516 | 0
07/28 06:00:00 | 20.6875 | 0 | 0 | 0 | 0 | 0 | 0 | 24.4284 | 0.0058628 | 24.4284 | 0.0058628 | 0 | 13.8978 | 13.8978 | 1 | 0 | 0 | 1.0392 | 1 | 1 | 12.3471 | 0
07/28 07:00:00 | 22.475 | 0 | 0 | 0 | 0 | 0 | 0 | 24.5367 | 0.0058872 | 24.5367 | 0.0058872 | 0 | 13.8978 | 13.8978 | 1 | 0 | 0 | 1.0392 | 1 | 1 | 12.4082 | 0
07/28 08:00:00 | 24.7375 | 409.4192 | 2402.1339 | 2252.5976 | 2768.1674 | 0.82281 | 0.15713 | 23.5603 | 0.006021 | 11.0365 | 0.0056477 | 0.36424 | 13.2466 | 14.986 | 3.75 | 0.21199 | 40.6704 | 1.045 | 1 | 1 | 12.1807 | 0.34015
07/28 09:00:00 | 26.975 | 969.3864 | 5753.0578 | 5290.9593 | 6625.5056 | 1 | 0.31343 | 23.4236 | 0.0062113 | 6.8182 | 0.0056253 | 0.38008 | 13.1337 | 17.2968 | 8.5 | 0.4681 | 96.9386 | 1.0462 | 1 | 1 | 12.307 | 0.81372
07/28 10:00:00 | 28.8 | 1092.0336 | 6464.1985 | 5942.017 | 7447.0288 | 1 | 0.34624 | 23.4232 | 0.0062368 | 6.5405 | 0.0056366 | 0.38008 | 13.2146 | 17.894 | 9.5 | 0.56399 | 109.2034 | 1.0455 | 1 | 1 | 12.3298 | 0.91494
07/28 11:00:00 | 29.775 | 1147.8594 | 6767.8305 | 6261.4935 | 7800.904 | 1 | 0.36088 | 23.4232 | 0.0061472 | 6.3505 | 0.0055888 | 0.38008 | 13.382 | 18.284 | 10 | 0.55285 | 114.7859 | 1.0438 | 1 | 1 | 12.2466 | 0.95943
07/28 12:00:00 | 31.0625 | 1172.9456 | 6891.948 | 6412.5592 | 7947.599 | 1 | 0.36712 | 23.4234 | 0.0060687 | 6.2337 | 0.0055489 | 0.38008 | 13.5284 | 18.5228 | 10 | 0.76142 | 117.2946 | 1.0424 | 1 | 1 | 12.1692 | 0.97835
07/28 13:00:00 | 32.0125 | 1075.7891 | 6293.7389 | 5880.4845 | 7261.9492 | 1 | 0.33964 | 23.4237 | 0.0060071 | 6.383 | 0.0055228 | 0.38008 | 13.7015 | 18.2652 | 9 | 0.84366 | 107.5789 | 1.0408 | 1 | 1 | 12.1064 | 0.89482
07/28 14:00:00 | 32.8875 | 1200.9997 | 7032.687 | 6640.3436 | 8113.5867 | 1 | 0.37427 | 23.4578 | 0.0058593 | 5.9904 | 0.005442 | 0.38008 | 13.7118 | 18.8108 | 10 | 1 | 120.1 | 1.0406 | 1 | 1 | 11.9776 | 1
07/28 15:00:00 | 32.6125 | 1181.6812 | 6900.4157 | 6508.1179 | 7963.9288 | 1 | 0.3683 | 23.4869 | 0.0058954 | 6.0925 | 0.0054711 | 0.38008 | 13.7955 | 18.8006 | 10 | 0.80063 | 118.1681 | 1.0399 | 1 | 1 | 12.0201 | 0.98192
07/28 16:00:00 | 29.45 | 1064.1108 | 6181.575 | 5767.5282 | 7139.2748 | 1 | 0.3351 | 23.4239 | 0.0060433 | 6.4904 | 0.0055509 | 0.38008 | 13.9401 | 18.4271 | 9.25 | 0.44196 | 106.4111 | 1.0386 | 1 | 1 | 12.147 | 0.88071
07/28 17:00:00 | 25.3625 | 987.547 | 5711.6109 | 5244.1956 | 6600.4032 | 1 | 0.31352 | 23.4234 | 0.0062976 | 6.9685 | 0.0057047 | 0.38008 | 14.0243 | 18.1727 | 8.5 | 0.47101 | 98.7547 | 1.0381 | 1 | 1 | 12.3842 | 0.81417
07/28 18:00:00 | 24.2125 | 0 | 0 | 0 | 0 | 0 | 0 | 24.5933 | 0.0067021 | 24.5933 | 0.0067021 | 0 | 14.0187 | 14.0187 | 1 | 0 | 0 | 1.0382 | 1 | 1 | 13.1559 | 0
07/28 19:00:00 | 24.775 | 0 | 0 | 0 | 0 | 0 | 0 | 25.1283 | 0.0069822 | 25.1283 | 0.0069822 | 0 | 14.0187 | 14.0187 | 1 | 0 | 0 | 1.0382 | 1 | 1 | 13.581 | 0
07/28 20:00:00 | 23.625 | 0 | 0 | 0 | 0 | 0 | 0 | 24.9624 | 0.0070263 | 24.9624 | 0.0070263 | 0 | 14.0187 | 14.0187 | 1 | 0 | 0 | 1.0382 | 1 | 1 | 13.5527 | 0
07/28 21:00:00 | 22.1125 | 0 | 0 | 0 | 0 | 0 | 0 | 24.7719 | 0.0070528 | 24.7719 | 0.0070528 | 0 | 14.0187 | 14.0187 | 1 | 0 | 0 | 1.0382 | 1 | 1 | 13.5038 | 0
07/28 22:00:00 | 21.325 | 0 | 0 | 0 | 0 | 0 | 0 | 24.627 | 0.0070841 | 24.627 | 0.0070841 | 0 | 14.0187 | 14.0187 | 1 | 0 | 0 | 1.0382 | 1 | 1 | 13.4758 | 0
07/28 23:00:00 | 21.1 | 0 | 0 | 0 | 0 | 0 | 0 | 24.5127 | 0.0071125 | 24.5127 | 0.0071125 | 0 | 14.0187 | 14.0187 | 1 | 0 | 0 | 1.0382 | 1 | 1 | 13.4586 | 0
07/28 24:00:00 | 20.4125 | 0 | 0 | 0 | 0 | 0 | 0 | 24.379 | 0.0071432 | 24.379 | 0.0071432 | 0 | 14.0187 | 14.0187 | 1 | 0 | 0 | 1.0382 | 1 | 1 | 13.4412 | 0
07/29 01:00:00 | 18.25 | 0 | 0 | 0 | 0 | 0 | 0 | 24.2349 | 0.0071716 | 24.2349 | 0.0071716 | 0 | 14.0187 | 14.0187 | 1 | 0 | 0 | 1.0382 | 1 | 1 | 13.4217 | 0
07/29 02:00:00 | 17.2 | 0 | 0 | 0 | 0 | 0 | 0 | 24.0926 | 0.0072034 | 24.0926 | 0.0072034 | 0 | 14.0187 | 14.0187 | 1 | 0 | 0 | 1.0382 | 1 | 1 | 13.402 | 0
07/29 03:00:00 | 17.2 | 0 | 0 | 0 | 0 | 0 | 0 | 23.9745 | 0.0072413 | 23.9745 | 0.0072413 | 0 | 14.0187 | 14.0187 | 1 | 0 | 0 | 1.0382 | 1 | 1 | 13.391 | 0
07/29 04:00:00 | 16.8875 | 0 | 0 | 0 | 0 | 0 | 0 | 23.8913 | 0.0072807 | 23.8913 | 0.0072807 | 0 | 14.0187 | 14.0187 | 1 | 0 | 0 | 1.0382 | 1 | 1 | 13.3921 | 0
07/29 05:00:00 | 16.7 | 0 | 0 | 0 | 0 | 0 | 0 | 23.799 | 0.0073206 | 23.799 | 0.0073206 | 0 | 14.0187 | 14.0187 | 1 | 0 | 0 | 1.0382 | 1 | 1 | 13.3898 | 0
07/29 06:00:00 | 17.7 | 0 | 0 | 0 | 0 | 0 | 0 | 23.7469 | 0.0073611 | 23.7469 | 0.0073611 | 0 | 14.0187 | 14.0187 | 1 | 0 | 0 | 1.0382 | 1 | 1 | 13.4045 | 0
07/29 07:00:00 | 20.425 | 0 | 0 | 0 | 0 | 0 | 0 | 23.9089 | 0.0074044 | 23.9089 | 0.0074044 | 0 | 14.0187 | 14.0187 | 1 | 0 | 0 | 1.0382 | 1 | 1 | 13.503 | 0
07/29 08:00:00 | 23.075 | 343.0362 | 1990.4125 | 1701.6775 | 2297.2081 | 0.75003 | 0.13449 | 23.5192 | 0.0074987 | 12.8021 | 0.0067307 | 0.35632 | 13.3172 | 14.7608 | 2.9375 | 0.38604 | 34.0884 | 1.0486 | 1 | 1 | 13.4532 | 0.28088
07/29 09:00:00 | 24.9625 | 943.1891 | 5548.546 | 4680.6867 | 6397.4162 | 1 | 0.30318 | 23.4214 | 0.0076069 | 8.2725 | 0.0064691 | 0.38008 | 13.1789 | 17.1987 | 8 | 0.62563 | 94.3189 | 1.0503 | 1 | 1 | 13.513 | 0.78175
07/29 10:00:00 | 26.975 | 1006.9461 | 5913.0433 | 5102.4068 | 6819.2948 | 1 | 0.32032 | 23.4213 | 0.0072604 | 7.7801 | 0.0062539 | 0.38008 | 13.2889 | 17.574 | 9 | 0.19821 | 100.6946 | 1.0476 | 1 | 1 | 13.2186 | 0.83521
07/29 11:00:00 | 28.4875 | 1038.0084 | 6082.1918 | 5421.7836 | 7016.3994 | 1 | 0.32896 | 23.4221 | 0.0067529 | 7.2236 | 0.005954 | 0.38008 | 13.4589 | 17.868 | 9 | 0.48686 | 103.8008 | 1.0442 | 1 | 1 | 12.781 | 0.86187
07/29 12:00:00 | 29.2125 | 1056.0642 | 6179.3875 | 5619.7098 | 7129.8453 | 1 | 0.33393 | 23.4227 | 0.0064355 | 6.8718 | 0.0057688 | 0.38008 | 13.5788 | 18.0594 | 9 | 0.65281 | 105.6064 | 1.0424 | 1 | 1 | 12.5022 | 0.8772
07/29 13:00:00 | 29.4 | 929.2229 | 5418.9962 | 4995.2075 | 6255.2968 | 1 | 0.29965 | 23.4233 | 0.0062159 | 7.0223 | 0.0056534 | 0.38008 | 13.7536 | 17.6848 | 8 | 0.50804 | 92.9223 | 1.0405 | 1 | 1 | 12.3043 | 0.77069
07/29 14:00:00 | 29.775 | 1067.3794 | 6235.0649 | 5807.4836 | 7195.7063 | 1 | 0.33703 | 23.4236 | 0.0060575 | 6.4656 | 0.0055526 | 0.38008 | 13.739 | 18.2612 | 9 | 0.75625 | 106.7379 | 1.0404 | 1 | 1 | 12.1579 | 0.88675
07/29 15:00:00 | 30.375 | 1086.9001 | 6344.0022 | 5931.9276 | 7322.2123 | 1 | 0.34218 | 23.4238 | 0.0059993 | 6.3608 | 0.0055201 | 0.38008 | 13.7848 | 18.3865 | 9 | 0.92824 | 108.69 | 1.04 | 1 | 1 | 12.1016 | 0.90264
07/29 16:00:00 | 30.225 | 1073.1966 | 6253.5121 | 5876.1163 | 7219.389 | 1 | 0.33822 | 23.4239 | 0.0059226 | 6.3211 | 0.0054786 | 0.38008 | 13.8665 | 18.4037 | 9 | 0.79591 | 107.3197 | 1.0392 | 1 | 1 | 12.031 | 0.89042
07/29 17:00:00 | 30.375 | 1033.6409 | 6015.0967 | 5689.018 | 6945.3735 | 1 | 0.3274 | 23.4241 | 0.0058155 | 6.3152 | 0.0054192 | 0.38008 | 13.9446 | 18.3097 | 9 | 0.43458 | 103.3641 | 1.0385 | 1 | 1 | 11.9339 | 0.85705
07/29 18:00:00 | 29.5375 | 0 | 0 | 0 | 0 | 0 | 0 | 24.7958 | 0.0057108 | 24.7958 | 0.0057108 | 0 | 13.9687 | 13.9687 | 1 | 0 | 0 | 1.0384 | 1 | 1 | 12.3393 | 0
07/29 19:00:00 | 28.2125 | 0 | 0 | 0 | 0 | 0 | 0 | 25.2722 | 0.0056587 | 25.2722 | 0.0056587 | 0 | 13.9687 | 13.9687 | 1 | 0 | 0 | 1.0384 | 1 | 1 | 12.4719 | 0
07/29 20:00:00 | 26.05 | 0 | 0 | 0 | 0 | 0 | 0 | 25.0456 | 0.0056472 | 25.0456 | 0.0056472 | 0 | 13.9687 | 13.9687 | 1 | 0 | 0 | 1.0384 | 1 | 1 | 12.3878 | 0
07/29 21:00:00 | 24.3125 | 0 | 0 | 0 | 0 | 0 | 0 | 24.8852 | 0.0056421 | 24.8852 | 0.0056421 | 0 | 13.9687 | 13.9687 | 1 | 0 | 0 | 1.0384 | 1 | 1 | 12.3323 | 0
07/29 22:00:00 | 22.15 | 0 | 0 | 0 | 0 | 0 | 0 | 24.7775 | 0.0056366 | 24.7775 | 0.0056366 | 0 | 13.9687 | 13.9687 | 1 | 0 | 0 | 1.0384 | 1 | 1 | 12.2959 | 0
07/29 23:00:00 | 21.1 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6737 | 0.0056401 | 24.6737 | 0.0056401 | 0 | 13.9687 | 13.9687 | 1 | 0 | 0 | 1.0384 | 1 | 1 | 12.2643 | 0
07/29 24:00:00 | 21.475 | 0 | 0 | 0 | 0 | 0 | 0 | 24.5981 | 0.0056522 | 24.5981 | 0.0056522 | 0 | 13.9687 | 13.9687 | 1 | 0 | 0 | 1.0384 | 1 | 1 | 12.2476 | 0
07/30 01:00:00 | 19.95 | 0 | 0 | 0 | 0 | 0 | 0 | 24.5152 | 0.0056644 | 24.5152 | 0.0056644 | 0 | 13.9687 | 13.9687 | 1 | 0 | 0 | 1.0384 | 1 | 1 | 12.2282 | 0
07/30 02:00:00 | 18.9 | 0 | 0 | 0 | 0 | 0 | 0 | 24.364 | 0.0056815 | 24.364 | 0.0056815 | 0 | 13.9687 | 13.9687 | 1 | 0 | 0 | 1.0384 | 1 | 1 | 12.1885 | 0
07/30 03:00:00 | 17.525 | 0 | 0 | 0 | 0 | 0 | 0 | 24.2441 | 0.005696 | 24.2441 | 0.005696 | 0 | 13.9687 | 13.9687 | 1 | 0 | 0 | 1.0384 | 1 | 1 | 12.1577 | 0
07/30 04:00:00 | 16.0125 | 0 | 0 | 0 | 0 | 0 | 0 | 24.0934 | 0.0057115 | 24.0934 | 0.0057115 | 0 | 13.9687 | 13.9687 | 1 | 0 | 0 | 1.0384 | 1 | 1 | 12.1187 | 0
07/30 05:00:00 | 15.225 | 0 | 0 | 0 | 0 | 0 | 0 | 23.9713 | 0.005725 | 23.9713 | 0.005725 | 0 | 13.9687 | 13.9687 | 1 | 0 | 0 | 1.0384 | 1 | 1 | 12.0874 | 0
07/30 06:00:00 | 14.625 | 0 | 0 | 0 | 0 | 0 | 0 | 23.8743 | 0.0057339 | 23.8743 | 0.0057339 | 0 | 13.9687 | 13.9687 | 1 | 0 | 0 | 1.0384 | 1 | 1 | 12.0626 | 0
07/30 07:00:00 | 15.8375 | 0 | 0 | 0 | 0 | 0 | 0 | 24.0107 | 0.0057527 | 24.0107 | 0.0057527 | 0 | 13.9687 | 13.9687 | 1 | 0 | 0 | 1.0384 | 1 | 1 | 12.1286 | 0
07/30 08:00:00 | 18.3875 | 246.692 | 1453.5293 | 1372.2199 | 1675.2743 | 0.67872 | 0.10774 | 23.3915 | 0.0058657 | 15.3901 | 0.0056489 | 0.2613 | 13.1959 | 14.2486 | 2.1875 | 0.088313 | 24.6383 | 1.0452 | 1 | 1 | 11.9993 | 0.20577
07/30 09:00:00 | 21.525 | 845.2232 | 5010.0274 | 4657.193 | 5770.7282 | 1 | 0.28023 | 23.4242 | 0.0060218 | 7.0769 | 0.0055216 | 0.38008 | 13.2296 | 16.8557 | 7.5 | 0.35942 | 84.5223 | 1.0451 | 1 | 1 | 12.1497 | 0.70934
07/30 10:00:00 | 23.8 | 980.4463 | 5803.6884 | 5406.1428 | 6686.0901 | 1 | 0.3161 | 23.4238 | 0.0060078 | 6.5921 | 0.0055073 | 0.38008 | 13.2782 | 17.4795 | 8.5 | 0.55713 | 98.0446 | 1.0447 | 1 | 1 | 12.1306 | 0.82207
07/30 11:00:00 | 25.8375 | 1064.1161 | 6275.2607 | 5862.2113 | 7232.9652 | 1 | 0.33809 | 23.4238 | 0.00598 | 6.3576 | 0.0054938 | 0.38008 | 13.4219 | 17.9671 | 9.25 | 0.54167 | 106.4116 | 1.0433 | 1 | 1 | 12.1003 | 0.89001
07/30 12:00:00 | 28.3875 | 1137.9625 | 6689.2964 | 6248.9176 | 7713.4627 | 1 | 0.35765 | 23.4237 | 0.0059972 | 6.227 | 0.0055072 | 0.38008 | 13.532 | 18.3793 | 10 | 0.44509 | 113.7963 | 1.0423 | 1 | 1 | 12.1094 | 0.94965
07/30 13:00:00 | 29.775 | 1035.7821 | 6058.2237 | 5662.161 | 6990.4276 | 1 | 0.32881 | 23.4237 | 0.0059969 | 6.4748 | 0.0055177 | 0.38008 | 13.7122 | 18.1053 | 9 | 0.48193 | 103.5782 | 1.0407 | 1 | 1 | 12.1011 | 0.86142
07/30 14:00:00 | 30.375 | 1128.4542 | 6594.861 | 6185.2983 | 7610.4698 | 1 | 0.35384 | 23.4238 | 0.0059542 | 6.2172 | 0.0054935 | 0.38008 | 13.7556 | 18.5384 | 10 | 0.31782 | 112.8454 | 1.0403 | 1 | 1 | 12.0545 | 0.9381
07/30 15:00:00 | 30.6 | 1129.0579 | 6582.9868 | 6159.9252 | 7599.1389 | 1 | 0.35347 | 23.4237 | 0.0060003 | 6.2712 | 0.005524 | 0.38008 | 13.8259 | 18.6017 | 10 | 0.3055 | 112.9058 | 1.0396 | 1 | 1 | 12.091 | 0.93698
07/30 16:00:00 | 30.6 | 1130.1729 | 6576.617 | 6155.0028 | 7593.7726 | 1 | 0.35336 | 23.4237 | 0.0060058 | 6.2797 | 0.005531 | 0.38008 | 13.8951 | 18.6676 | 10 | 0.3018 | 113.0173 | 1.039 | 1 | 1 | 12.0896 | 0.93665
07/30 17:00:00 | 29.5375 | 1064.8489 | 6181.2371 | 5790.6574 | 7139.6011 | 1 | 0.33518 | 23.4238 | 0.0059917 | 6.4198 | 0.005528 | 0.38008 | 13.9869 | 18.4741 | 9 | 0.6945 | 106.4849 | 1.0381 | 1 | 1 | 12.0738 | 0.88105
07/30 18:00:00 | 28.2125 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6695 | 0.0061508 | 24.6695 | 0.0061508 | 0 | 14.029 | 14.029 | 1 | 0 | 0 | 1.0378 | 1 | 1 | 12.6721 | 0
07/30 19:00:00 | 26.7375 | 0 | 0 | 0 | 0 | 0 | 0 | 24.9788 | 0.0063114 | 24.9788 | 0.0063114 | 0 | 14.029 | 14.029 | 1 | 0 | 0 | 1.0378 | 1 | 1 | 12.9246 | 0
07/30 20:00:00 | 25.4125 | 0 | 0 | 0 | 0 | 0 | 0 | 24.7775 | 0.0063398 | 24.7775 | 0.0063398 | 0 | 14.029 | 14.029 | 1 | 0 | 0 | 1.0378 | 1 | 1 | 12.8749 | 0
07/30 21:00:00 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 24.8043 | 0.0063613 | 24.8043 | 0.0063613 | 0 | 14.029 | 14.029 | 1 | 0 | 0 | 1.0378 | 1 | 1 | 12.9084 | 0
07/30 22:00:00 | 24.625 | 0 | 0 | 0 | 0 | 0 | 0 | 24.7183 | 0.0063844 | 24.7183 | 0.0063844 | 0 | 14.029 | 14.029 | 1 | 0 | 0 | 1.0378 | 1 | 1 | 12.9041 | 0
07/30 23:00:00 | 24.4 | 0 | 0 | 0 | 0 | 0 | 0 | 24.5666 | 0.0064098 | 24.5666 | 0.0064098 | 0 | 14.029 | 14.029 | 1 | 0 | 0 | 1.0378 | 1 | 1 | 12.8638 | 0
07/30 24:00:00 | 23.7125 | 0 | 0 | 0 | 0 | 0 | 0 | 24.4377 | 0.0064355 | 24.4377 | 0.0064355 | 0 | 14.029 | 14.029 | 1 | 0 | 0 | 1.0378 | 1 | 1 | 12.8366 | 0
07/31 01:00:00 | 22.3 | 0 | 0 | 0 | 0 | 0 | 0 | 24.2941 | 0.0064579 | 24.2941 | 0.0064579 | 0 | 14.029 | 14.029 | 1 | 0 | 0 | 1.0378 | 1 | 1 | 12.8064 | 0
07/31 02:00:00 | 21.325 | 0 | 0 | 0 | 0 | 0 | 0 | 24.1502 | 0.0064753 | 24.1502 | 0.0064753 | 0 | 14.029 | 14.029 | 1 | 0 | 0 | 1.0378 | 1 | 1 | 12.7682 | 0
07/31 03:00:00 | 21.1 | 0 | 0 | 0 | 0 | 0 | 0 | 24.0501 | 0.0064931 | 24.0501 | 0.0064931 | 0 | 14.029 | 14.029 | 1 | 0 | 0 | 1.0378 | 1 | 1 | 12.7467 | 0
07/31 04:00:00 | 20.7875 | 0 | 0 | 0 | 0 | 0 | 0 | 23.967 | 0.0065116 | 23.967 | 0.0065116 | 0 | 14.029 | 14.029 | 1 | 0 | 0 | 1.0378 | 1 | 1 | 12.7334 | 0
07/31 05:00:00 | 20.225 | 0 | 0 | 0 | 0 | 0 | 0 | 23.8922 | 0.0065317 | 23.8922 | 0.0065317 | 0 | 14.029 | 14.029 | 1 | 0 | 0 | 1.0378 | 1 | 1 | 12.7294 | 0
07/31 06:00:00 | 20.375 | 0 | 0 | 0 | 0 | 0 | 0 | 23.84 | 0.0065504 | 23.84 | 0.0065504 | 0 | 14.029 | 14.029 | 1 | 0 | 0 | 1.0378 | 1 | 1 | 12.7325 | 0
07/31 07:00:00 | 21.975 | 0 | 0 | 0 | 0 | 0 | 0 | 23.9866 | 0.0065814 | 23.9866 | 0.0065814 | 0 | 14.029 | 14.029 | 1 | 0 | 0 | 1.0378 | 1 | 1 | 12.8164 | 0
07/31 08:00:00 | 24.55 | 330.337 | 1920.4583 | 1724.413 | 2215.7746 | 0.75332 | 0.13203 | 23.5187 | 0.006716 | 12.3918 | 0.0061724 | 0.35632 | 13.3581 | 14.7505 | 2.9375 | 0.25355 | 32.8129 | 1.0451 | 1 | 1 | 12.7662 | 0.27193
07/31 09:00:00 | 26.975 | 953.0259 | 5617.7123 | 4956.4157 | 6475.4356 | 1 | 0.30714 | 23.4226 | 0.006906 | 7.5734 | 0.0060504 | 0.38008 | 13.221 | 17.2899 | 8.25 | 0.50806 | 95.3026 | 1.0468 | 1 | 1 | 12.8969 | 0.79408
07/31 10:00:00 | 29.55 | 1109.7156 | 6535.5703 | 5815.966 | 7534.3144 | 1 | 0.34941 | 23.422 | 0.0067873 | 7.0649 | 0.0059675 | 0.38008 | 13.2714 | 18.0057 | 9.75 | 0.41963 | 110.9716 | 1.046 | 1 | 1 | 12.7905 | 0.92455
07/31 11:00:00 | 31.2875 | 1168.87 | 6864.0712 | 6234.4014 | 7916.0542 | 1 | 0.36544 | 23.4224 | 0.0064713 | 6.6461 | 0.0057855 | 0.38008 | 13.4481 | 18.4226 | 10 | 0.70516 | 116.887 | 1.0436 | 1 | 1 | 12.5105 | 0.97324
07/31 12:00:00 | 31.7 | 1185.9922 | 6946.2036 | 6405.5522 | 8013.5965 | 1 | 0.36984 | 23.423 | 0.0062356 | 6.3834 | 0.0056538 | 0.38008 | 13.6037 | 18.6397 | 10 | 0.85222 | 118.5992 | 1.0418 | 1 | 1 | 12.2957 | 0.98659
07/31 13:00:00 | 32.3875 | 1065.4984 | 6213.4935 | 5780.206 | 7172.4421 | 1 | 0.33618 | 23.4235 | 0.0060972 | 6.5032 | 0.0055843 | 0.38008 | 13.7961 | 18.3037 | 9 | 0.7278 | 106.5498 | 1.0399 | 1 | 1 | 12.1666 | 0.88413
07/31 14:00:00 | 33.1125 | 1200.8201 | 7005.9852 | 6546.1032 | 8086.7233 | 1 | 0.37326 | 23.4253 | 0.0060389 | 6.1647 | 0.0055485 | 0.38008 | 13.7974 | 18.8796 | 10 | 0.9662 | 120.082 | 1.0399 | 1 | 1 | 12.1084 | 0.99693
07/31 15:00:00 | 32.6125 | 1191.6959 | 6936.1938 | 6471.7877 | 8008.7202 | 1 | 0.37019 | 23.4363 | 0.0060749 | 6.232 | 0.0055755 | 0.38008 | 13.8721 | 18.9054 | 10 | 0.86374 | 119.1696 | 1.0392 | 1 | 1 | 12.1389 | 0.98764
07/31 16:00:00 | 31.5125 | 1153.3698 | 6688.3358 | 6201.8435 | 7726.3686 | 1 | 0.35881 | 23.4234 | 0.0061796 | 6.4169 | 0.00564 | 0.38008 | 13.9762 | 18.8322 | 10 | 0.48386 | 115.337 | 1.0383 | 1 | 1 | 12.2243 | 0.95317
07/31 17:00:00 | 29.725 | 1091.1726 | 6311.8364 | 5843.1658 | 7293.8917 | 1 | 0.34137 | 23.4234 | 0.0062043 | 6.583 | 0.005658 | 0.38008 | 14.057 | 18.6413 | 9.25 | 0.65144 | 109.1173 | 1.0376 | 1 | 1 | 12.2502 | 0.90014
07/31 18:00:00 | 28.525 | 0 | 0 | 0 | 0 | 0 | 0 | 24.8544 | 0.0064734 | 24.8544 | 0.0064734 | 0 | 14.0892 | 14.0892 | 1 | 0 | 0 | 1.0374 | 1 | 1 | 13.0026 | 0
07/31 19:00:00 | 26.175 | 0 | 0 | 0 | 0 | 0 | 0 | 25.3597 | 0.0066562 | 25.3597 | 0.0066562 | 0 | 14.0892 | 14.0892 | 1 | 0 | 0 | 1.0374 | 1 | 1 | 13.3483 | 0
07/31 20:00:00 | 24.4625 | 0 | 0 | 0 | 0 | 0 | 0 | 24.9889 | 0.0066938 | 24.9889 | 0.0066938 | 0 | 14.0892 | 14.0892 | 1 | 0 | 0 | 1.0374 | 1 | 1 | 13.2568 | 0
07/31 21:00:00 | 23.825 | 0 | 0 | 0 | 0 | 0 | 0 | 25.0097 | 0.0067295 | 25.0097 | 0.0067295 | 0 | 14.0892 | 14.0892 | 1 | 0 | 0 | 1.0374 | 1 | 1 | 13.2977 | 0
07/31 22:00:00 | 23.1625 | 0 | 0 | 0 | 0 | 0 | 0 | 24.9212 | 0.0067655 | 24.9212 | 0.0067655 | 0 | 14.0892 | 14.0892 | 1 | 0 | 0 | 1.0374 | 1 | 1 | 13.3008 | 0
07/31 23:00:00 | 22.4625 | 0 | 0 | 0 | 0 | 0 | 0 | 24.765 | 0.0068022 | 24.765 | 0.0068022 | 0 | 14.0892 | 14.0892 | 1 | 0 | 0 | 1.0374 | 1 | 1 | 13.2806 | 0
07/31 24:00:00 | 21.7625 | 0 | 0 | 0 | 0 | 0 | 0 | 24.6132 | 0.0068346 | 24.6132 | 0.0068346 | 0 | 14.0892 | 14.0892 | 1 | 0 | 0 | 1.0374 | 1 | 1 | 13.2577 | 0